## Compliance matrix
Phase | Section | Checklist item | Minimum | Best practice | Evidence located | Status
pre_development | 1 Project & site definition | Project concept review | clear capacity and basic grid point | validated capacity, market-optimised use cases, preliminary grid studies | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 1 Project & site definition | Site suitability | basic map review, generic solar data | detailed GIS, bankable solar resource data, hazard screening |  | NO EVIDENCE FOUND
pre_development | 1 Project & site definition | Initial technology screening | component types selected | component choice considers site fit and market trends | [10_Financial/Financial_Model_Lender_Base_Case_SAH.xlsx ¦ sheet:Capex_Summary] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 2 Soil studies | Geological & geotechnical data review | general soil/geology maps | desktop geotechnical study + preliminary borehole review | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 2 Soil studies | Hydrological assessment | flood map check | groundwater levels, drainage patterns |  | NO EVIDENCE FOUND
pre_development | 2 Soil studies | Soil contamination screening | site-history review | Phase I ESA | [04_Technical_Studies/Geotechnical_Investigation_Report_SAH.pdf ¦ p.1 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 3 Environmental & biodiversity | Sensitive habitat mapping | screen against public conservation maps | ecologist desktop review + walkover |  | NO EVIDENCE FOUND
pre_development | 3 Environmental & biodiversity | Preliminary ecological risk | direct footprint | connectivity, corridors, species-specific risks | [14_Risk/Developer_Risk_Register_SAH.xlsx ¦ sheet:Risks] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 3 Environmental & biodiversity | Water resources | source identification | water balance and impact on aquatic ecosystems | [03_Permits_Licences/Permit_Tracker_SAH.xlsx ¦ sheet:Permits (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 3 Environmental & biodiversity | Species-specific risks (birds) | migratory routes | avian expert consultation | [10_Financial/Insurance_Programme_Summary_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 3 Environmental & biodiversity | EU Nature Restoration Law screening | screen against known restoration zones | assessment against national restoration plans, authority consultation | [09_Environmental_Social/ESIA_Summary_and_Biodiversity_Baseline_SAH.pdf ¦ p.1 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 3 Environmental & biodiversity | Nature-inclusive / eco-certified potential | basic biodiversity benefits | early design integration, eco-certification |  | NO EVIDENCE FOUND
pre_development | 3 Environmental & biodiversity | PFAS presence screening | supplier declaration | specific material declarations, PFAS-free alternatives | [09_Environmental_Social/ESIA_Summary_and_Biodiversity_Baseline_SAH.pdf ¦ p.1 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 4 Permitting | Environmental permitting landscape (incl. EIA) | list of permits | roadmap with timelines and authorities | [10_Financial/Lender_Term_Sheet_Summary_SAH.docx ¦ table 1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 4 Permitting | Civil/building permitting landscape | list of permits | regulatory review, early discussions with authorities |  | NO EVIDENCE FOUND
pre_development | 5 Archaeology & explosive ordnance | Archaeological desk-based assessment | public register check | full DBA by qualified archaeologist | [04_Technical_Studies/Archaeological_Desk_Based_Assessment_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 5 Archaeology & explosive ordnance | UXO/EOD risk assessment | screen known risk areas | specialist historical desk study + walkover | [04_Technical_Studies/Hydrology_and_Flood_Risk_Assessment_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 6 Stakeholders, community, land | SPV stakeholder mapping | primary legal/financial stakeholders | all internal/external incl. community and NGOs |  | NO EVIDENCE FOUND
pre_development | 6 Stakeholders, community, land | Public perception & engagement plan | local news check | formal stakeholder analysis and engagement plan | [09_Environmental_Social/Community_Engagement_Plan_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 6 Stakeholders, community, land | Land tenure | basic title search | easements, encumbrances, indigenous rights review | [01_Corporate_Legal/Land_Lease_and_Easements_Summary_SAH.docx ¦ body] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 6 Stakeholders, community, land | Socio-economic profile | demographic data | preliminary socio-economic impact assessment |  | NO EVIDENCE FOUND
pre_development | 7 Grid interconnection | Grid capacity | basic TSO/DSO inquiry | formal grid feasibility study, queue position | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 7 Grid interconnection | Preliminary studies | review available utility studies | detailed preliminary studies with operator | [00_Index/Data_Room_Index_SAH.xlsx ¦ sheet:Index] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 7 Grid interconnection | Grid-forming (GFM) requirement assessment | grid-code version mentions GFM? | clause-level review, discussion with TSO/DSO | [08_Grid/Grid_Connection_Study_and_TSO_Letter_SAH.pdf ¦ p.1 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 8 Cost & schedule | Budget review | ROM estimate | conceptual costing with risk contingency | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 8 Cost & schedule | Timeline review | basic Gantt | critical path incl. permitting, financing, supply-chain lead times | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 9 Life cycle assessment | LCA data review | generic benchmarks | supplier LCA/EPDs for key components | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
pre_development | 9 Life cycle assessment | Supply-chain environmental hotspots | common issues | mapping and risk screening of critical raw materials | [04_Technical_Studies/LCA_and_Carbon_Footprint_Summary_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | Scope of work | basic scope | detailed scope, interfaces, latest IEC/NFPA editions, local codes | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | Performance guarantees & LDs | basic PR/capacity guarantee | robust guarantees tied to verifiable tests, sufficient LDs, independent witness | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ table 2] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | Warranties | standard workmanship clause | clear claims process, exclusions, parent company guarantees | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ table 2] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | QA/QC plan | generic plan | project-specific; factory audits, PSI by AQL, PV EL/flash and BESS tests | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | Commissioning plan | basic checklist | multi-stage incl. off-grid/on-grid and GFM tests if required | [00_Index/Data_Room_Index_SAH.xlsx ¦ sheet:Index (part 4)] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | HSSE plan | standard plan | site-specific incl. biodiversity protection, emergency protocols, security | [11_Construction_Commissioning/HSSE_Plan_Summary_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 1 EPC agreement | Contractual risk allocation | basic allocation | balanced, reflects identified project-specific risks | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 2 O&M agreement | Scope of work | preventive/corrective | proactive maintenance, habitat management, optimised cleaning, BESS thermal management | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 2 O&M agreement | Availability guarantees & LDs | basic availability guarantee | rigorous definitions of downtime, sufficient LDs | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ table 2] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 2 O&M agreement | Reporting | monthly basic KPIs | root-cause analysis, environmental monitoring, degradation trends |  | NO EVIDENCE FOUND
contracting | 2 O&M agreement | Spare parts strategy | basic list | critical spares with stock levels, lead times, storage strategy | [12_Operations_Planning/Spare_Parts_Strategy_SAH.xlsx ¦ sheet:Spares] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 2 O&M agreement | Warranty management | basic claim process | proactive checks and claim tracking | [07_Contracts/OM_Agreement_Key_Terms_SAH.docx ¦ body] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 3 Equipment supply agreements | Technical specifications | datasheet key parameters | detailed review incl. IEC 61853 matrix, GFM validation |  | NO EVIDENCE FOUND
contracting | 3 Equipment supply agreements | Product warranties | standard | minimal exclusions, escalation, long-term financial backing | [06_Equipment/Module_Datasheet_Helion_HX580BF.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
contracting | 3 Equipment supply agreements | Bankability & manufacturer solvency | basic financial check | independent bankability report (< 1 year old), track record | [06_Equipment/Bankability_Report_Helion_PV_Modules.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 1 Data consolidation & risk quantification | P50/P75/P90 energy yield report | P50/P90 | independent P50/P75/P90, detailed losses and uncertainty | [04_Technical_Studies/Energy_Yield_Assessment_Report_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 1 Data consolidation & risk quantification | BESS performance model | manufacturer-data model | independently validated; dispatch strategy, degradation curves | [04_Technical_Studies/Energy_Yield_Assessment_Report_SAH.pdf ¦ p.1 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 1 Data consolidation & risk quantification | Comprehensive risk register | basic identification | quantified likelihood/impact, mitigation, ownership | [14_Risk/Developer_Risk_Register_SAH.xlsx ¦ sheet:Risks] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 2 Financial sensitivity | Technical input sensitivities | PR, degradation | all critical technical inputs; extreme scenarios | [10_Financial/Financial_Model_Lender_Base_Case_SAH.xlsx ¦ sheet:Sensitivities] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 2 Financial sensitivity | Merchant risk assessment | high-level | price volatility, negative prices, revenue stacking, hedging, BESS optimisation | [04_Technical_Studies/Hydrology_and_Flood_Risk_Assessment_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 3 Report generation | TDD report | standard report | structured, executive summary, actionable recommendations |  | NO EVIDENCE FOUND
financing | 3 Report generation | Executive summary for financiers | basic | tailored to bankability | [04_Technical_Studies/Energy_Yield_Assessment_Report_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 3 Report generation | Gap analysis | informal missing-items list | formal gap analysis with action plan and owners | [05_Design/Design_Basis_Report_SAH.pdf ¦ p.1 (part 3)] | EVIDENCE LOCATED - engineer to assess adequacy
financing | 4 Lender/investor interface | Technical Q&A | basic | proactive, data-backed |  | NO EVIDENCE FOUND
financing | 4 Lender/investor interface | CSDDD readiness | basic understanding | supply-chain mapping, grievance mechanisms, third-party audits |  | NO EVIDENCE FOUND
financing | 4 Lender/investor interface | CSRD readiness | basic understanding | robust ESRS data collection |  | NO EVIDENCE FOUND
construction | 1 Construction monitoring & QA/QC | Electrical design & calculations (DC and AC | basic diagram review | stringing/MPPT, DC protection, LPS/SPD, cable sizing/losses, transformer sizing, grid-code compliance | [06_Equipment/Inverter_Datasheet_Syncro_SG320.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 1 Construction monitoring & QA/QC | Design change management | major changes reviewed | formal change process with independent review | [05_Design/Design_Basis_Report_SAH.pdf ¦ p.1 (part 3)] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 1 Construction monitoring & QA/QC | QA/QC implementation | PSI with AQL (ISO 2859-1) | module EL + flash, VDE AR 90038-2, detailed site inspections | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 1 Construction monitoring & QA/QC | Progress monitoring | major deliveries tracked | logistics tracking, MC verification, critical path | [06_Equipment/Certificates_Register.xlsx ¦ sheet:Certificates (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 2 Commissioning oversight | Commissioning plan review | IEC 62446-1 checklist | phased plan incl. GFM tests | [00_Index/Data_Room_Index_SAH.xlsx ¦ sheet:Index (part 4)] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 2 Commissioning oversight | Witnessing key tests | insulation resistance, energisation | all critical performance/safety tests, IR drone, EL samples, PVsyst model vs actuals | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ body (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 2 Commissioning oversight | Test documentation | basic reports | raw data, signed, acceptance criteria met | [11_Construction_Commissioning/Commissioning_and_Acceptance_Plan_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 2 Commissioning oversight | PAC / FAC verification | basic checklist | against contractual definitions | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ table 1] | EVIDENCE LOCATED - engineer to assess adequacy
construction | 2 Commissioning oversight | Energisation | basic checklist | plan with TSO/DSO coordination, protection settings verified | [11_Construction_Commissioning/Construction_Schedule_SAH.xlsx ¦ sheet:Schedule (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | SCADA review (IEC 61724-1) | basic functionality | data integrity, resolution, alarms, archiving, remote control | [12_Operations_Planning/OT_Cybersecurity_Overview_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | Historical PR analysis | monthly PR | trend vs projections and benchmarks | [07_Contracts/EPC_Agreement_Key_Terms_and_Schedules_SAH.docx ¦ table 2] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | Availability | uptime | downtime root causes vs contractual KPIs | [07_Contracts/OM_Agreement_Key_Terms_SAH.docx ¦ table 1] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | Specific yield / EPI | kWh/kWp | weather-corrected expected output from validated model | [04_Technical_Studies/Energy_Yield_Assessment_Report_SAH.pdf ¦ p.2 (part 2)] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | Degradation | overall | vs warranties and IEC 61215/63209; BESS capacity fade | [04_Technical_Studies/Energy_Yield_Assessment_Report_SAH.pdf ¦ p.2] | EVIDENCE LOCATED - engineer to assess adequacy
operation | Performance monitoring | BESS RTE & SoC/SoH accuracy | monitor | direct measurement verification |  | NO EVIDENCE FOUND
operation | Performance monitoring | GFM performance monitoring (if equipped) | monitor | black start, synthetic inertia, V/f regulation vs contracts | [13_Decommissioning/Decommissioning_Plan_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
decommissioning | Decommissioning | Decommissioning plan review | plan exists | see guideline Phase 6 / Annex K | [11_Construction_Commissioning/QAQC_Plan_and_ITP_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy
decommissioning | Decommissioning | Cost estimation review | cost estimate exists | see guideline; check financial security and salvage assumptions | [13_Decommissioning/Decommissioning_Plan_SAH.pdf ¦ p.1] | EVIDENCE LOCATED - engineer to assess adequacy