# Financial Sensitivity Summary

DRAFT - AI-assisted engineering output. Requires human engineering review and approval before issue. CONCEPTUAL - NOT FOR CONSTRUCTION.

| Document no. | Revision | Date | Workstream | Status | Project |
| --- | --- | --- | --- | --- | --- |
| HAS-SAH-2026-WS6-D40-RevA | A | 2026-10-13 | WS6 - Commercial and Specialist Assurance | DRAFT | Solara Alentejo Hybrid (PV + BESS) |

# 1. Purpose and scope

This deliverable ('Financial Sensitivity Summary') is generated from the project blackboard for Solara Alentejo Hybrid (PV + BESS). It reports evidence-backed findings and deterministic calculation results; it does not contain unreferenced engineering conclusions.

| Parameter | Value |
| --- | --- |
| PV DC / AC | 150.0 MWp / 120.0 MWac |
| BESS | 60 MW / 270.0 MWh DC (240 MWh usable at POI) |
| Export limit | 130 MW |
| Location | 37.62, -8.19 |

# 2. Basis and assumptions

| ID | Agent | Assumption | Basis |
| --- | --- | --- | --- |
| AS-001 | site_geometry_agent | Site boundary assumed as a 262.0 ha rectangle centred on the stated coordinates. | No surveyed boundary supplied |
| AS-002 | pv_layout_agent | Substation and BESS compound located on the east side of the site; PV layout avoids them. | No site plan supplied - conceptual placement |
| AS-003 | pv_layout_agent | Horizontal single-axis tracker, 1P, N-S axis, GCR 0.33, tables of 48 modules, 10 m perimeter setback. | Typical utility-scale design; confirm with EPC |

# 3. Calculations (deterministic, independently re-run by Calculation Validation Agent)

| Calc ID | Tool | Key outputs |
| --- | --- | --- |
| C010 | project_economics | {'cfads_year1_m': 7.9, 'project_irr': 0.0012, 'lcoe': {'lcoe_eur_per_mwh': 60.65, 'pv_cost_eur_m': 247.75, 'pv_energy_gwh': 4085.1}, 'gearing_pct': 69.5} |

# 4. Findings

| ID | Severity | Statement | Evidence | Recommendation | QA |
| --- | --- | --- | --- | --- | --- |
| F-004 | High | Minimum DSCR 0.514 is below the 1.30x sizing criterion at P50 inputs. | calc:C010 | Resize debt or revisit revenue assumptions. | qa_pass |
| F-053 | Medium | Document indicates an open/absent item: "P90 and BESS sensitivities not included in lender model package ¦" | 10_Financial/Financial_Model_Lender_Base_Case_SAH.xlsx ¦ sheet:Sensitivities | Confirm with the project team; request the missing evidence or close-out. | qa_pass |
| F-054 | Medium | Document indicates an open/absent item: "Cost item (EUR m, today's prices) Gross PV dismantling & logistics 3.6 BESS removal & recycling 2.1 Substation, cabling, civil removal 1.7 Site restoration & monitoring 1.0 Total gross cost 8.4 Estima" | 13_Decommissioning/Decommissioning_Plan_SAH.pdf ¦ p.1 | Confirm with the project team; request the missing evidence or close-out. | qa_pass |
| F-055 | Medium | Document indicates an open/absent item: "cycling credits) (3.1) Net cost 5.3 Financial security: not defined." | 13_Decommissioning/Decommissioning_Plan_SAH.pdf ¦ p.1 (part 2) | Confirm with the project team; request the missing evidence or close-out. | qa_pass |

# 5. Outstanding information (OIRs)

None.

# 6. QA status

Independent QA checks for WS6: pass 15, warn 0, fail 0.

## Approval record

| Gate | Role | Decision | Actor | Date | Comment |
| --- | --- | --- | --- | --- | --- |
| engineering_review | Engineering Reviewer | PENDING |  |  |  |
| lead_approval | Lead Engineer | PENDING |  |  |  |
| director_approval | Project Director | PENDING |  |  |  |